## Sheet1
Utility Name | Fire Start |  | Location |  |  |  |  | Fire |  |  | Utility Facility |  |  |  |  | Outage |  |  | Field Observation
| Date | Time | Latitude | Longitude | Material At Origin | Land Use at Origin | HFTD | Size | Suppressed By | Suppressing Agency | Facility Identification | Other Companies | Voltage (KVolts) | Equipment Involved With Ignition | Type | Was There an Outage | Date | Time | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor
SCE | 2/4/24 | 12:10 | 36.1966 | -119.3206 | Asphalt concrete | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Tulare County Fire Department | OH-4803336E | None | 12 | Conductor | Overhead | Yes | 2/4/24 | 12:10 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2/7/24 | 17:35 | 34.0771 | -117.8796 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-916824E | None | 12 | Conductor | Overhead | Yes | 2/7/24 | 17:35 | Contact From Object |  | Vegetation | Electric Facility | External force
SCE | 2/13/24 | 11:52 | 34.7066 | -118.1455 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4651080E | RACE TELECOMMUNICATIONS, INC. | 12 | Fuse | Overhead | No | N/A | N/A | Contact From Object |  | Balloons | Electric Facility | External force
SCE | 2/27/24 | 18:55 | 33.8143 | -117.8144 | Structure | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-4197479E | None | 12 | Conductor | Underground | Yes | 2/27/24 | 18:55 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 2/28/24 | 01:12 | 34.0784 | -117.8737 | Structure | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1596844E | None | 12 | Transformer | Overhead | Yes | 2/28/24 | 01:12 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 3/2/24 | 18:28 | 34.1415 | -116.1787 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-1779421E | None | 12 | Conductor | Overhead | Yes | 3/2/24 | 18:28 | Wire-Wire Contact |  |  | Electric Facility | Weather
SCE | 3/3/24 | 23:36 | 34.4353 | -118.3921 | Vehicle | Rural | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1790725E | TIME WARNER CABLE | 16 | Conductor | Underground | Yes | 3/3/24 | 23:36 | Contact From Object |  | Vehicle | Pole | External force
SCE | 3/6/24 | 16:02 | 34.6166 | -118.032 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-4456009E | None | 12 | Other | Overhead | Yes | 3/6/24 | 16:02 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 3/9/24 | 06:14 | 33.9873 | -116.9672 | Structure | Rural | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Local Fire Department | OH-83182E | None | 12 | Other | Overhead | Yes | 3/9/24 | 06:14 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 3/9/24 | 14:41 | 34.3724 | -116.884 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-2233126E | None | 33 | Other | Overhead | Yes | 3/9/24 | 14:41 | Equipment/Facility Failure | Pole |  |  | Weather
SCE | 3/10/24 | 22:32 | 34.391 | -117.6093 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-2341991E | None | 12 | Other | Overhead | Yes | 3/10/24 | 22:32 | Equipment/Facility Failure | Pole |  |  | Weather
SCE | 3/11/24 | 20:08 | 33.9847 | -117.4284 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-1676663E | CHARTER COMMUNICATIONS | 12 | Other | Overhead | Yes | 3/11/24 | 20:08 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 3/17/24 | 17:41 | 33.8011 | -117.1607 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-2113230E | TIME WARNER CABLE | 12 | Conductor | Overhead | Yes | 3/17/24 | 17:41 | Contact From Object |  | Other | Electric Facility | Weather
SCE | 4/5/24 | 08:40 | 34.047 | -116.606 | Structure | Rural | HFTD Tier 2 | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-4850826E | None | 12 | Conductor | Overhead | Yes | 4/5/24 | 08:40 | Equipment/Facility Failure | Conductor |  |  | Weather
SCE | 4/7/24 | 14:06 | 34.0018 | -117.9127 | Structure | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-4733455E | None | 12 | Conductor | Overhead | Yes | 4/7/24 | 14:06 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 4/10/24 | 06:35 | 34.1055 | -118.0441 | Structure | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1736761E | CHAMPION BROADBAND | 16 | Conductor | Overhead | No | N/A | N/A | Vandalism/Theft | Conductor |  | Outside Force | Unknown
SCE | 4/13/24 | 14:26 | 33.8264 | -117.2263 | Vehicle | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | UG-5428825 | None | 12 | Other | Underground | Yes | 4/13/24 | 14:26 | Contact From Object |  | Vehicle | Other | External force
SCE | 4/15/24 | 03:20 | 34.4646 | -120.0436 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Self-extinguished |  | OH-4743368E | None | 16 | Conductor | Overhead | Yes | 4/15/24 | 03:20 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 4/19/24 | 16:35 | 34.4488 | -117.2931 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4006108E | CHARTER COMMUNICATIONS | 12 | Capacitor Bank | Overhead | Yes | 4/19/24 | 16:35 | Contamination |  |  |  | Unknown
SCE | 4/21/24 | 12:59 | 34.5065 | -117.4109 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-4304525E | CHARTER COMMUNICATIONS | 33 | Other | Overhead | Yes | 4/21/24 | 12:59 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 4/22/24 | 21:36 | 35.5687 | -117.7193 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-2172358E | None | 12 | Transformer | Overhead | Yes | 4/22/24 | 21:36 | Contact From Object |  | Animal | Electric Facility | External force
SCE | 4/24/24 | 15:31 | 35.6453 | -117.8118 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Kern County Fire Department | OH-4594608E | MEDIACOM | 12 | Capacitor Bank | Overhead | No | N/A | N/A | Normal Operation | Fuse |  | Human Error | Unknown
SCE | 5/4/24 | 08:50 | 33.9547 | -118.2445 | Vehicle | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1753286E | None | 16 | Other | Underground | Yes | 5/4/24 | 08:50 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 5/4/24 | 08:58 | 35.111 | -118.6194 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Self-extinguished |  | OH-4010161E | None | 12 | Transformer | Overhead | Yes | 5/4/24 | 08:58 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 5/4/24 | 16:43 | 34.4684 | -117.4488 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | San Bernardino County Fire Department | OH-4914804E | None | 12 | Conductor | Overhead | Yes | 5/4/24 | 16:43 | Wire-Wire Contact |  |  | Electric Facility | Unknown
SCE | 5/4/24 | 16:53 | 34.5064 | -117.3549 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-2363219E | None | 12 | Other | Overhead | Yes | 5/4/24 | 16:53 | Contact From Object |  | Vehicle | Pole | External force
SCE | 5/10/24 | 10:34 | 34.092 | -117.292 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-1706174E | None | 12 | Conductor | Overhead | Yes | 5/10/24 | 10:34 | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 5/11/24 | 20:46 | 37.0859 | -118.2609 | Vegetation | Unknown | non-HFTD | .26 - 9.99 Acres | Fire agency | Cal Fire | OH-120177 | None | 115 | Other | Overhead | No | N/A | N/A | Equipment/Facility Failure | Splice |  |  | Unknown
SCE | 5/13/24 | 07:21 | 36.3173 | -119.6831 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1475258E | COMCAST OF SIERRA VALLEYS, INC | 12 | Conductor | Underground | Yes | 5/13/24 | 07:21 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 5/16/24 | 09:30 | 34.4769 | -118.1362 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Utility |  | OH-4187443E | None | 12 | Transformer | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External force
SCE | 5/16/24 | 18:52 | 34.9189 | -117.1539 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-28340S | None | 12 | Conductor | Overhead | Yes | 5/16/24 | 18:52 | Contact From Object |  | Other | Electric Facility | External force
SCE | 5/18/24 | 12:25 | 36.3041 | -119.6345 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Kern County Fire Department | OH-4593778E | None | 12 | Transformer | Overhead | Yes | 5/18/24 | 12:25 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 5/20/24 | 19:35 | 33.9911 | -116.5796 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-332205S | None | 12 | Conductor | Overhead | Yes | 5/20/24 | 19:35 | Equipment/Facility Failure | Conductor |  |  | Weather
SCE | 5/21/24 | 06:57 | 34.9516 | -118.1704 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Kern County Fire Department | OH-4267425E | RACE TELECOMMUNICATIONS, INC. | 12 | Lightning Arrestor | Overhead | Yes | 5/21/24 | 06:57 | Equipment/Facility Failure | Lightning Arrestor |  |  | Unknown
SCE | 5/23/24 | 14:13 | 34.3152 | -118.959 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Self-extinguished |  | OH-1709216E | None | 16 | Fuse | Overhead | Yes | 5/23/24 | 14:13 | Equipment/Facility Failure | Fuse |  |  | Unknown
SCE | 5/23/24 | 16:46 | 33.7822 | -117.9752 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Orange County Fire Authority | OH-4759987E | SUNESYS, LLC | 12 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 5/26/24 | 12:16 | 35.1256 | -118.0913 | Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Fire agency | Kern County Fire Department | OH-4332879E | CHARTER COMMUNICATIONS | 12 | Transformer | Overhead | Yes | 5/26/24 | 12:16 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 5/27/24 | 12:38 | 36.2935 | -119.6959 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Utility |  | OH-4620251E | None | 12 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 5/27/24 | 13:52 | 35.2666 | -116.0742 | Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-4873577E | None | 12 | Other | Overhead | Yes | 5/27/24 | 13:52 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 5/29/24 | 17:24 | 33.9399 | -116.6176 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Self-extinguished |  | OH-4114811E | None | 12 | Other | Overhead | Yes | 5/29/24 | 17:24 | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 5/30/24 | 15:18 | 34.1128 | -117.3185 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-4496068E | None | 4 | Conductor | Overhead | Yes | 5/30/24 | 15:18 | Vandalism/Theft |  |  |  | External Force
SCE | 5/30/24 | 16:13 | 36.0947 | -119.1229 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4351688E | CHARTER COMMUNICATIONS | 12 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Vehicle | Pole | External Force
SCE | 5/31/24 | 10:07 | 34.5523 | -117.3494 | Vegetation | Unknown | non-HFTD | .26 - 9.99 Acres | Self-extinguished |  | OH-4613975E | None | 33 | Other | Overhead | Yes | 5/31/24 | 10:07 | Contact From Object |  | Animal | Pole | External Force
SCE | 6/1/24 | 13:16 | 35.097 | -117.947 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4937851E | None | 33 | Other | Overhead | Yes | 6/1/24 | 13:16 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 6/2/24 | 05:07 | 36.3263 | -119.3559 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Tulare County Fire Department | OH-2045317E | None | 12 | Other | Overhead | Yes | 6/2/24 | 05:07 | Vandalism/Theft |  |  |  | External Force
SCE | 6/4/24 | 14:33 | 34.7616 | -118.7456 | Vegetation | Highly Rural | HFTD Tier 2 | .26 - 9.99 Acres | Fire agency | U.S. Forest Service | OH-4650087E | None | 12 | Conductor | Overhead | Yes | 6/4/24 | 14:33 | Vandalism/Theft |  |  |  | Unknown
SCE | 6/4/24 | 14:33 | 36.0079 | -119.3032 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Tulare County Fire Department | OH-1299668E | None | 12 | Lightning Arrestor | Overhead | Yes | 6/4/24 | 14:33 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 6/5/24 | 18:45 | 36.3866 | -118.9455 | Vegetation | Unknown | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Cal Fire | OH-4434940E | None | 66 | Conductor | Overhead | No | N/A | N/A | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 6/6/24 | 19:46 | 33.7772 | -116.961 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-1935590E | None | 12 | Lightning Arrestor | Overhead | Yes | 6/6/24 | 19:46 | Contamination |  |  |  | Unknown
SCE | 6/7/24 | 15:10 | 33.958 | -117.8227 | Vegetation | Unknown | HFTD Tier 3 | .26 - 9.99 Acres | Fire agency | Local FD | OH-7009253 | None | 12 | Other | Overhead | No | N/A | N/A | Unknown |  |  |  | Weather
SCE | 6/7/24 | 17:19 | 35.899 | -119.322 | Vegetation | Rural | non-HFTD | 10-99 Acres | Fire agency | Tulare County Fire Department | OH-1442114E | None | 12 | Other | Overhead | Yes | 6/7/24 | 17:19 | Other |  |  |  | Unknown
SCE | 6/10/24 | 19:07 | 36.4142 | -119.2948 | Vegetation | Unknown | non-HFTD | .26 - 9.99 Acres | Fire agency | Tulare County Fire Department | OH-2344455E | None | 12 | Other | Overhead | Yes | 6/10/24 | 19:07 | Contact From Object |  | Vehicle | Pole | Weather
SCE | 6/12/24 | 00:00 | 34.057 | -118.619 | Vegetation | Rural | HFTD Tier 3 | .26 - 9.99 Acres | Fire agency | Los Angeles County Fire Department | OH-1225754E | None | 16 | Other | Overhead | Yes | 6/12/24 | 00:00 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 6/13/24 | 01:57 | 34.6149 | -118.1032 | Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Fire agency | Local Fire Department | OH-1001570E | None | 12 | Other | Overhead | Yes | 6/13/24 | 01:57 | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 6/13/24 | 11:03 | 33.9879 | -118.1507 | Vehicle | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-4717127E | None | 16 | Conductor | Overhead | Yes | 6/13/24 | 11:03 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 6/13/24 | 14:27 | 36.0502 | -119.3103 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Tulare County Fire Department | OH-572620E | None | 12 | Other | Underground | Yes | 6/13/24 | 14:27 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 6/14/24 | 18:20 | 33.8936 | -116.6108 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4805863E | None | 33 | Other | Overhead | Yes | 6/14/24 | 18:20 | Equipment/Facility Failure | Insulator |  |  | Unknown
SCE | 6/15/24 | 10:12 | 34.5714 | -117.3474 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-1737893E | None | 33 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 6/21/24 | 09:54 | 33.8343 | -117.4933 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Self-extinguished |  | OH-4412448E | None | 33 | Lightning Arrestor | Overhead | Yes | 6/21/24 | 09:54 | Equipment/Facility Failure | Lightning Arrestor |  |  | Human Error
SCE | 6/22/24 | 18:10 | 34.0473 | -117.6743 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Chino Fire Department | OH-779457E | None | 12 | Other | Overhead | Yes | 6/22/24 | 18:10 | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 6/22/24 | 21:54 | 35.9795 | -116.2713 | Vegetation | Highly Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Inyo County Fire Department | OH-2263604E | None | 4 | Other | Overhead | Yes | 6/22/24 | 21:54 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 6/23/24 | 18:27 | 36.2038 | -119.2635 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Tulare County Fire Department | OH-1507133E | None | 12 | Lightning Arrestor | Overhead | Yes | 6/23/24 | 18:27 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 6/24/24 | 15:33 | 33.9486 | -116.5435 | Vegetation | Urban | non-HFTD | .26 - 9.99 Acres | Fire agency | Riverside County Fire Department | OH-2205104E | TIME WARNER CABLE | 12 | Conductor | Underground | Yes | 6/24/24 | 15:33 | Vandalism/Theft | Cable |  | Electric Facility | Unknown
SCE | 6/26/24 | 07:15 | 35.1383 | -118.4906 | Vegetation | Urban | HFTD Tier 3 | Less Than .25 Acres | Customer |  | OH-4009797E | BRIGHT HOUSE NETWORKS | 12 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 6/26/24 | 16:35 | 34.5839 | -118.0719 | Vehicle | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1217873E | SUNESYS, LLC | 12 | Conductor | Overhead | Yes | 6/26/24 | 16:35 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 6/28/24 | 20:05 | 34.9856 | -117.8913 | Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1849003E | CHARTER COMMUNICATIONS | 33 | Other | Underground | Yes | 6/28/24 | 20:05 | Equipment/Facility Failure | Pothead |  |  | Unknown
SCE | 6/29/24 | 21:40 | 33.9555 | -116.4933 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-4805793E | None | 12 | Transformer | Overhead | Yes | 6/29/24 | 21:40 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 6/30/24 | 08:25 | 34.1289 | -117.6991 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-462608E | None | 12 | Lightning Arrestor | Overhead | Yes | 6/30/24 | 08:25 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 6/30/24 | 20:46 | 34.8853 | -117.1015 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Barstow Fire Department | OH-428204S | TIME WARNER CABLE | 12 | Conductor | Overhead | Yes | 6/30/24 | 20:46 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 7/4/24 | 18:15 | 34.2332 | -116.4307 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1694548E | None | 25 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 7/7/24 | 15:15 | 34.4601 | -119.828 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Santa Barbara Fire Department | OH-1286521E | None | 16 | Other | Overhead | No | N/A | N/A | Equipment/Facility Failure | Pole |  |  | Unknown
SCE | 7/8/24 | 02:50 | 34.6606 | -118.1167 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Local Fire Department | OH-911377E | RACE TELECOMMUNICATIONS, INC. | 12 | Conductor | Overhead | Yes | 7/8/24 | 02:50 | Vandalism/Theft | Other |  |  | Uknown
SCE | 7/8/24 | 22:49 | 33.877 | -117.5693 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Corona Fire Department | OH-8242S | None | 12 | Transformer | Overhead | Yes | 7/8/24 | 22:49 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 7/9/24 | 09:13 | 35.9557 | -118.9789 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Tulare County Fire Department | OH-4726266E | None | 12 | Other | Overhead | Yes | 7/9/24 | 09:13 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 7/9/24 | 12:00 | 36.0096 | -119.2992 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Unknown |  | OH-1851862E | None | 12 | Capacitor Bank | Overhead | No | N/A | N/A | Equipment/Facility Failure | Capacitor Bank |  |  | Unknown
SCE | 7/9/24 | 17:41 | 34.0834 | -117.7324 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1057338E | None | 12 | Conductor | Overhead | Yes | 7/9/24 | 17:41 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 7/10/24 | 00:11 | 34.1913 | -118.1083 | Vegetation | Urban | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-4614792E | None | 16 | Other | Overhead | Yes | 7/10/24 | 00:11 | Equipment/Facility Failure | Splice |  |  | Unknown
SCE | 7/10/24 | 10:59 | 33.7993 | -117.0744 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-1623579E | None | 12 | Conductor | Overhead | Yes | 7/10/24 | 10:59 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 7/13/24 | 08:12 | 35.1623 | -117.8623 | Structure and Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Fire agency | Kern County Fire Department | OH-1779003E | None | 33 | Conductor | Underground | Yes | 7/13/24 | 08:12 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 7/13/24 | 18:34 | 34.8951 | -117.0021 | Structure | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Barstow Fire Department | OH-30049S | None | 12 | Other | Overhead | Yes | 7/13/24 | 18:34 | Contact From Object |  | Other | Electric Facility | External Force
SCE | 7/14/24 | 16:15 | 34.5008 | -117.3067 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | UG-5013674 | None | 12 | Conductor | Underground | Yes | 7/14/24 | 16:15 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 7/16/24 | 14:08 | 34.5319 | -117.2069 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Apple Valley Fire District | OH-18508CIT | None | 12 | Conductor | Overhead | Yes | 7/16/24 | 14:08 | Contact From Object |  | Other | Electric Facility | External Force
SCE | 7/18/24 | 11:36 | 34.4409 | -119.2202 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Ventura County Fire Department | OH-4863233E | None | 16 | Conductor | Overhead | Yes | 7/18/24 | 11:36 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 7/18/24 | 22:52 | 34.4699 | -118.1959 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-4429426E | None | 12 | Other | Overhead | Yes | 7/18/24 | 22:52 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 7/20/24 | 13:25 | 34.7824 | -117.3127 | Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Utility |  | OH-4169514E | None | 12 | Transformer | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 7/22/24 | 13:54 | 34.7337 | -118.0423 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Los Angeles County Fire Department | OH-4365945E | None | 12 | Capacitor Bank | Overhead | Yes | 7/22/24 | 13:54 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 7/23/24 | 11:13 | 34.0415 | -118.1441 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4455857E | None | 4 | Conductor | Overhead | Yes | 7/23/24 | 11:13 | Equipment/Facility Failure | Conductor |  |  | Uknown
SCE | 7/23/24 | 15:26 | 36.105 | -118.8082 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Tulare County Fire Department | OH-4360568E | None | 12 | Other | Overhead | Yes | 7/23/24 | 15:26 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 7/23/24 | 17:43 | 33.8698 | -117.5641 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Corona Fire Department | OH-4661994E | None | 12 | Conductor | Overhead | Yes | 7/23/24 | 17:43 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 7/23/24 | 21:09 | 36.225 | -119.345 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Tulare County Fire Department | OH-973910E | RACE TELECOMMUNICATIONS, INC. | 12 | Conductor | Overhead | Yes | 7/23/24 | 21:09 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 7/24/24 | 13:20 | 33.6707 | -117.2108 | Vegetation | Unknown | HFTD Tier 2 | Less Than .25 Acres | Customer |  | OH-4978055E | None | 12 | Other | Overhead | No | N/A | N/A | Equipment/Facility Failure | Splice |  |  | Unknown
SCE | 7/25/24 | 19:00 | 33.9224 | -117.5419 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-754945H | None | 12 | Lightning Arrestor | Overhead | Yes | 7/25/24 | 19:00 | Equipment/Facility Failure | Lightning Arrestor |  |  | Unknown
SCE | 7/27/24 | 19:33 | 34.6795 | -118.433 | Vegetation | Rural | HFTD Tier 3 | .26 - 9.99 Acres | Fire agency | Los Angeles County Fire Department | OH-709052E | None | 12 | Transformer | Overhead | Yes | 7/27/24 | 19:33 | Equipment/Facility Failure | Transformer |  |  | Weather
SCE | 7/28/24 | 12:43 | 33.7368 | -117.1498 | Vegetation | Urban | HFTD Tier 2 | .26 - 9.99 Acres | Fire agency | Riverside County Fire Department | OH-312510S | None | 12 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 7/29/24 | 10:53 | 34.9589 | -117.3301 | Vegetation | Highly Rural | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-4378771E | None | 33 | Transformer | Overhead | Yes | 7/29/24 | 10:53 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 7/30/24 | 00:00 | 34.1622 | -118.8725 | Vegetation | Unknown | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Ventura County Fire Department | OH-1443375E | None | 16 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 7/30/24 | 09:04 | 33.9231 | -116.9816 | Vegetation | Unknown | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Riverside County Fire Department | UG-5198176 | None | 12 | Conductor | Underground | Yes | 7/30/24 | 09:04 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 7/31/24 | 13:30 | 34.4356 | -117.5516 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Self-extinguished |  | OH-2171072E | None | 12 | Fuse | Overhead | Yes | 7/31/24 | 13:30 | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 8/1/24 | 14:58 | 34.8373 | -119.3802 | Vegetation | Highly Rural | HFTD Tier 2 | .26 - 9.99 Acres | Fire agency | Ventura County Fire Department | OH-851612E | None | 12 | Other | Overhead | No | N/A | N/A | Wire-Wire Contact | Connector |  |  | Unknown
SCE | 8/3/24 | 02:16 | 36.4015 | -119.2785 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Tulare County Fire Department | OH-1648339E | None | 12 | Other | Overhead | Yes | 8/3/24 | 02:16 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 8/4/24 | 17:26 | 34.6168 | -118.0632 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Los Angeles County Fire Department | OH-1021249E | None | 12 | Conductor | Overhead | No | N/A | N/A | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 8/7/24 | 11:47 | 33.8388 | -117.1186 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Riverside County Fire Department | OH-4224539E | None | 12 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Vehicle | Pole | External Force
SCE | 8/9/24 | 11:27 | 34.4544 | -117.2873 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | San Bernardino County Fire Department | OH-1600196E | None | 12 | Transformer | Overhead | Yes | 8/9/24 | 11:27 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 8/10/24 | 09:25 | 35.6484 | -117.7674 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Unknown | OH-1849084E | None | 12 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 8/12/24 | 06:37 | 36.3615 | -119.6283 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4636060E | None | 12 | Other | Overhead | Yes | 8/12/24 | 06:37 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 8/15/24 | 08:53 | 33.9295 | -116.6031 | Vegetation | Rural | HFTD Tier 2 | .26 - 9.99 Acres | Fire agency | Riverside County Fire Department | OH-4323547E | None | 12 | Other | Overhead | Yes | 8/15/24 | 08:53 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 8/15/24 | 08:53 | 33.9311 | -116.5976 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Riverside County Fire Department | OH-235541S | None |  | Other | Overhead | Yes | 8/15/24 | 08:53 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 8/18/24 | 07:38 | 33.9984 | -118.139 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-994143E | EAST LA FIRE PROTECTION DISTRICT | 16 | Conductor | Overhead | No | N/A | N/A | Unknown |  |  |  | Unknown
SCE | 8/18/24 | 17:17 | 34.0251 | -117.5418 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-4536597E | None | 12 | Other | Overhead | Yes | 8/18/24 | 17:17 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 8/18/24 | 17:30 | 34.4712 | -118.6088 | Vegetation | Unknown | HFTD Tier 3 | .26 - 9.99 Acres | Fire agency | Los Angeles County Fire Department | OH-589097E | None | 16 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 8/18/24 | 23:19 | 34.0039 | -117.7711 | Vegetation | Unknown | HFTD Tier 2 | Less Than .25 Acres | Self-extinguished |  | OH-7012144 | None | 66 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 8/19/24 | 18:21 | 35.9805 | -119.0464 | Vegetation | Rural | non-HFTD | .26 - 9.99 Acres | Fire agency | Tulare County Fire Department | OH-436560E | None | 12 | Other | Overhead | Yes | 8/19/24 | 18:21 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 8/23/24 | 04:40 | 34.5022 | -120.0657 | Vegetation | Rural | HFTD Tier 3 | 10-99 Acres | Fire agency | Santa Barbara County Fire Department | OH-807731E | None | 16 | Conductor | Overhead | Yes | 8/23/24 | 04:40 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 8/23/24 | 08:38 | 35.805 | -119.0047 | Vegetation | Rural | non-HFTD | 10-99 Acres | Fire agency | CAL Fire | OH-896261E | None | 12 | Conductor | Overhead | Yes | 8/23/24 | 08:38 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 8/23/24 | 19:26 | 34.5927 | -117.3256 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4877541E | None | 33 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 8/25/24 | 10:45 | 33.8018 | -116.4728 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Utility |  | OH-2021732E | TIME WARNER CABLE | 33 | Other | Underground | Yes | 8/25/24 | 10:45 | Equipment/Facility Failure | Pothead |  |  | Unknown
SCE | 8/25/24 | 17:05 | 33.7584 | -116.95 | Vegetation | Urban | HFTD Tier 2 | 10-99 Acres | Fire agency | Riverside County Fire Department | OH-4552477E | None | 12 | Other |  | No | N/A | N/A | Unknown |  | Unknown | Electric Facility | Unknown
SCE | 8/25/24 | 20:33 | 34.0477 | -117.9326 | Structure | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-836640E | None | 12 | Conductor | Overhead | Yes | 8/25/24 | 20:33 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 8/26/24 | 03:20 | 33.9473 | -117.2053 | Vehicle | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-4968620E | None | 12 | Other | Overhead | Yes | 8/26/24 | 03:20 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 8/27/24 | 14:11 | 34.4042 | -118.4673 | Vegetation | Unknown | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-4081329E | TIME WARNER CABLE | 16 | Other | Overhead | Yes | 8/27/24 | 14:11 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 8/29/24 | 12:39 | 33.7417 | -118.375 | Vegetation | Urban | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-536746E | None | 16 | Conductor | Overhead | Yes | 8/29/24 | 12:39 | Equipment/Facility Failure | Conductor |  |  | External Force
SCE | 9/2/24 | 16:48 | 34.0177 | -117.9905 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1343462E | None | 12 | Conductor | Overhead | Yes | 9/2/24 | 16:48 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 9/3/24 | 14:33 | 34.0831 | -117.6268 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Ontario Fire Department | OH-1072044E | None | 12 | Transformer | Overhead | Yes | 9/3/24 | 14:33 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 9/5/24 | 17:13 | 34.3753 | -118.5507 | Vegetation | Urban | HFTD Tier 3 | Less Than .25 Acres | Self-extinguished |  | OH-1130749E | None | 16 | Other | Overhead | Yes | 9/5/24 | 17:13 | Equipment/Facility Failure | Splice |  |  | Unknown
SCE | 9/5/24 | 18:28 | 34.7052 | -118.0985 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-971054E | None | 12 | Conductor | Overhead | Yes | 9/5/24 | 18:28 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 9/6/24 | 12:19 | 33.8318 | -118.253 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1619180E | None | 12 | Switch | Overhead | Yes | 9/6/24 | 12:19 | Equipment/Facility Failure | Switch |  |  | Unknown
SCE | 9/7/24 | 01:44 | 33.9373 | -118.2132 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-2035872E | None | 4 | Conductor | Underground | Yes | 9/7/24 | 01:44 | Vandalism/Theft | Cable |  |  | External Force
SCE | 9/7/24 | 02:45 | 33.9323 | -117.2052 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Self-extinguished |  | UG-5389503 | None | 12 | Other | Underground | Yes | 9/7/24 | 02:45 | Equipment/Facility Failure | Component |  |  | Unknown
SCE | 9/7/24 | 10:41 | 34.1079 | -117.2556 | Structure | Urban | non-HFTD | Less Than .25 Acres | Unknown |  | OH-476715E | None | 12 | Other | Overhead | Yes | 9/7/24 | 10:41 | Unknown | Connector |  |  | Unknown
SCE | 9/7/24 | 18:27 | 33.6322 | -117.6661 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Orange County Fire Authority | UG-5080510 | None | 12 | Other | Underground | Yes | 9/7/24 | 18:27 | Equipment/Facility Failure | Component |  |  | Unknown
SCE | 9/8/24 | 08:35 | 33.882 | -117.8538 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Placentia Fire Department | UG-5092253 | None | 12 | Other | Underground | Yes | 9/8/24 | 08:35 | Equipment/Facility Failure | Component |  |  | Unknown
SCE | 9/8/24 | 11:29 | 34.2501 | -119.0331 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Ventura County Fire Department | OH-1500442E | None | 16 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 9/8/24 | 16:03 | 34.0968 | -117.7604 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-839178E | None | 12 | Other | Overhead | Yes | 9/8/24 | 16:03 | Equipment/Facility Failure | Connector |  |  | External Force
SCE | 9/8/24 | 16:23 | 33.9951 | -117.9583 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1470444E | None | 12 | Conductor | Overhead | Yes | 9/8/24 | 16:23 | Equipment/Facility Failure | Conductor |  |  | Weather
SCE | 9/8/24 | 17:35 | 33.8824 | -117.8744 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Fullerton Fire Department | OH-626753E | TIME WARNER CABLE | 12 | Switch | Overhead | Yes | 9/8/24 | 17:35 | Equipment/Facility Failure | Switch |  |  | Unknown
SCE | 9/8/24 | 21:37 | 33.7594 | -117.8757 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Orange County Fire Authority | OH-4502176E | None | 12 | Conductor | Overhead | Yes | 9/8/24 | 21:37 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 9/9/24 | 12:54 | 33.763 | -117.8615 | Vehicle | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Santa Ana Fire Department | OH-2320118E | None | 12 | Conductor | Overhead | Yes | 9/9/24 | 12:54 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 9/9/24 | 22:50 | 34.067 | -117.9518 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Unknown |  | OH-4533661E | CHARTER COMMUNICATIONS | 12 | Conductor | Overhead | Yes | 9/9/24 | 22:50 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 9/10/24 | 17:02 | 34.4571 | -119.6691 | Vegetation | Unknown | HFTD Tier 3 | .26 - 9.99 Acres | Fire agency | Montecito Fire Department | OH-4479631E | None | 66 | Switch | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 9/10/24 | 20:37 | 33.8565 | -118.0635 | Vehicle | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | UG-5134465 | None | 12 | Transformer | Underground | Yes | 9/10/24 | 20:37 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 9/11/24 | 18:50 | 33.903 | -118.1944 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1167736E | None | 4 | Conductor | Overhead | Yes | 9/11/24 | 18:50 | Contact From Object |  | Other | Electric Facility | External Force
SCE | 9/12/24 | 07:02 | 33.5493 | -117.2092 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Murrieta Fire Department | OH-4162591E | TIME WARNER CABLE | 12 | Capacitor Bank | Overhead | Yes | 9/12/24 | 07:02 | Equipment/Facility Failure | Capacitor Bank |  |  | Unknown
SCE | 9/13/24 | 17:58 | 36.1236 | -119.0684 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Tulare County Fire Department | OH-633951E | None | 12 | Fuse | Overhead | No | N/A | N/A | Equipment/Facility Failure | Fuse |  |  | Unknown
SCE | 9/22/24 | 20:40 | 33.8689 | -118.3626 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Redondo Beach Fire Department | OH-1493692E | None | 16 | Conductor | Overhead | Yes | 9/22/24 | 20:40 | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 9/23/24 | 06:23 | 34.0185 | -117.8109 | Fence | Unknown | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | UG-5018058 | None | 12 | Conductor | Underground | Yes | 9/23/24 | 06:23 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 9/28/24 | 22:13 | 33.856 | -116.5279 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-2202100E | None | 12 | Conductor | Underground | Yes | 9/28/24 | 22:13 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 9/29/24 | 14:07 | 34.0732 | -117.4469 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Self-extinguished |  | UG-5055322 | None | 12 | Conductor | Underground | Yes | 9/29/24 | 14:07 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 10/1/24 | 21:50 | 33.6019 | -114.6665 | Structure | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-238150S | None | 12 | Conductor | Overhead | Yes | 10/1/24 | 21:50 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 10/10/24 | 02:47 | 34.6905 | -118.1403 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-642697E | RACE TELECOMMUNICATIONS, INC. | 12 | Other | Overhead | Yes | 10/10/24 | 02:47 | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 10/10/24 | 13:29 | 34.2572 | -117.0953 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Self-extinguished |  | OH-1763305E | None | 12 | Transformer | Overhead | Yes | 10/10/24 | 13:29 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 10/16/24 | 10:24 | 33.6008 | -114.5891 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-239037S | None | 12 | Conductor | Overhead | Yes | 10/16/24 | 10:24 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 10/20/24 | 15:00 | 35.6226 | -117.6476 | Vegetation | Rural | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-4177560E | None | 33 | Other | Overhead | Yes | 10/20/24 | 15:00 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 10/21/24 | 16:21 | 33.8695 | -117.8182 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Placentia Fire Department | OH-4475091E | None | 12 | Other | Overhead | Yes | 10/21/24 | 16:21 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 10/22/24 | 08:17 | 33.8816 | -117.9492 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Fullerton Fire Department | OH-4551868E | None | 12 | Transformer | Overhead | No | N/A | N/A | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 10/24/24 | 15:29 | 34.2156 | -118.1999 | Vegetation | Urban | HFTD Tier 2 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1787477E | None | 16 | Conductor | Overhead | Yes | 10/24/24 | 15:29 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 10/25/24 | 22:24 | 33.6485 | -117.9135 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Costa Mesa Fire Department | OH-760234H | None | 12 | Other | Overhead | No | N/A | N/A | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 10/26/24 | 07:00 | 34.0814 | -117.7106 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-942770E | None | 12 | Conductor | Underground | Yes | 10/26/24 | 07:00 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 11/1/24 | 08:26 | 34.776 | -118.3489 | Vegetation | Unknown | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1218882E | None | 12 | Conductor | Overhead | Yes | 11/1/24 | 08:26 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 11/2/24 | 17:33 | 34.2433 | -119.2521 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1795558E | TIME WARNER CABLE | 16 | Other | Overhead | Yes | 11/2/24 | 17:33 | Equipment/Facility Failure | Insulator |  |  | Unknown
SCE | 11/6/24 | 00:00 | 36.3921 | -119.0012 | Vegetation | Rural | HFTD Tier 2 | 10-99 Acres | Fire agency | Local FD | OH-4424383E | None | 66 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 11/6/24 | 08:30 | 34.2529 | -118.7682 | Vegetation | Urban | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Ventura County Fire Department | OH-1584827E | TIME WARNER CABLE | 16 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Vegetation | Electric Facility | Weather
SCE | 11/6/24 | 13:47 | 33.7822 | -116.9497 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-19240S | None | 12 | Conductor | Overhead | No | N/A | N/A | Wire-Wire Contact | Conductor |  |  | Unknown
SCE | 11/9/24 | 15:44 | 33.9697 | -116.9031 | Vegetation | Rural | HFTD Tier 3 | .26 - 9.99 Acres | Fire agency | Riverside County Fire Department | OH-356425S | None | 12 | Other | Overhead | Yes | 11/9/24 | 15:44 | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 11/11/24 | 16:51 | 36.3164 | -119.3155 | Structure | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-5454T | None | 12 | Conductor | Overhead | Yes | 11/11/24 | 16:51 | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 11/14/24 | 08:19 | 34.0469 | -117.9852 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1160454E | None | 12 | Lightning Arrestor | Overhead | Yes | 11/14/24 | 08:19 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 11/15/24 | 15:16 | 34.4745 | -120.3932 | Vegetation | Rural | HFTD Tier 2 | Less Than .25 Acres | Self-extinguished |  | UG-5768685 | None | 16 | Conductor | Underground | Yes | 11/15/24 | 15:16 | Equipment/Facility Failure | Cable |  |  | Unknown
SCE | 11/21/24 | 13:18 | 33.9464 | -117.9851 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1075620E | None | 12 | Lightning Arrestor | Overhead | Yes | 11/21/24 | 13:18 | Equipment/Facility Failure | Lightning Arrestor |  |  | Unknown
SCE | 11/22/24 | 04:34 | 33.8688 | -117.9265 | Vehicle & Equipment | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Fullerton Fire Department | UG-5600810 | None | 12 | Transformer | Underground | Yes | 11/22/24 | 04:34 | Contact From Object |  | Vehicle | Pole | External Force
SCE | 11/24/24 | 23:21 | 33.7441 | -116.938 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-2248205E | None | 12 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Vegetation | Electric Facility | External Force
SCE | 12/1/24 | 09:33 | 34.3708 | -118.5599 | Vegetation | Urban | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Los Angeles County Fire Department | OH-1693555E | TIME WARNER CABLE | 16 | Lightning Arrestor | Overhead | Yes | 12/1/24 | 09:33 | Contact From Object |  | Animal | Electric Facility | External Force
SCE | 12/4/24 | 03:54 | 33.8573 | -117.1362 | Other | Unknown | HFTD Tier 2 | .26 - 9.99 Acres | Unknown |  | OH-1923171E | None | 115 | Other | Overhead | No | N/A | N/A | Contact From Object |  | Animal | Electric Facility
SCE | 12/6/24 | 20:01 | 33.9402 | -117.2445 | Structure | Urban | non-HFTD | Less Than .25 Acres | Utility |  | UG-5774919 | None | 12 | Transformer | Underground | Yes | 12/6/24 | 20:01 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 12/7/24 | 10:10 | 33.7553 | -117.9337 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Orange County Fire Authority | OH-1136248E | None | 12 | Other | Overhead | Yes | 12/7/24 | 10:10 | Equipment/Facility Failure | Insulator |  |  | Unknown
SCE | 12/7/24 | 16:35 | 33.9544 | -116.4663 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Fire agency | Riverside County Fire Department | OH-20612CWT | RACE TELECOMMUNICATIONS, INC. | 12 | Conductor | Overhead | Yes | 12/7/24 | 16:35 | Contact From Object |  | Balloons | Electric Facility | External Force
SCE | 12/14/24 | 12:05 | 33.6284 | -117.7039 | Other | Unknown | non-HFTD | Less Than .25 Acres | Unknown |  | UG-5142845 |  | 12 | Conductor | Underground | Yes | 12/14/24 | 12:05 | Equipment/Facility Failure | Cable
SCE | 12/16/24 | 11:36 | 33.7667 | -117.261 | Vegetation & Human Debris | Rural | non-HFTD | Less Than .25 Acres | Fire agency | Local FD | OH-1876981E | None | 12 | Other | Overhead | Yes | 12/16/24 | 11:36 | Equipment/Facility Failure | Connector |  |  | Unknown
SCE | 12/24/24 | 16:59 | 34.4516 | -119.76 | Vegetation | Rural | HFTD Tier 3 | Less Than .25 Acres | Fire agency | Santa Barbara City Fire Department | OH-1523404E | None | 16 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Other | Electric Facility | External Force
SCE | 12/27/24 | 20:09 | 34.0938 | -117.916 | Vegetation | Urban | non-HFTD | Less Than .25 Acres | Self-extinguished |  | OH-1101849E | None | 12 | Conductor | Overhead | No | N/A | N/A | Contact From Object |  | Vegetation | Electric Facility | External Force